# Dynalite PDEG Home Assistant Integration

Project summary for the repository at C:\Users\Elie\OneDrive\Documents\GitHub\Dynalite-HA-Integration

# Executive Summary

This repository contains a HACS-ready Home Assistant custom integration for Philips Dynalite lighting and automation systems connected through a PDEG Ethernet Gateway. It talks to the gateway over TCP, parses DyNet1 frames, keeps a live coordinator state model, and dynamically exposes Home Assistant entities for lighting, relays, blinds, HVAC, sensors, preset controls, and physical device diagnostics.

# Repository Layout

| Item | Details |
| --- | --- |
| Root | C:\Users\Elie\OneDrive\Documents\GitHub\Dynalite-HA-Integration |
| Integration domain | dynalite_pdeg |
| Main component | custom_components/dynalite_pdeg |
| HACS metadata | hacs.json |
| HA manifest | custom_components/dynalite_pdeg/manifest.json |
| Documentation | README.md and docs/ reference files |

# Primary Capabilities

Local TCP connection to a Philips Dynalite PDEG gateway.

Home Assistant config flow, reconfigure flow, and dynamic platform setup.

Automatic and manual discovery of Dynalite areas, channels, and physical devices.

Custom Home Assistant sidebar panel for logical and physical configuration.

System Builder XML import for logical areas and physical devices.

Entity creation for lights, switches, covers, climate, binary sensors, sensors, selects, and buttons.

Physical device sign-on polling with online/offline state tracking.

Backup and restore through custom websocket commands.

Developer/debug services including scan, select preset, set level, and raw DyNet frame send.

# Core Architecture

## TCP Client

dynalite_client.py manages the persistent TCP connection to the PDEG. It reads fixed logical/physical frames and variable sign-on frames, validates checksums, reconnects on failure, and provides command helpers for presets, levels, occupancy, HVAC setpoints, sign-on polling, motion status requests, and other DyNet1 operations.

## Coordinator

coordinator.py is the integration's state engine. It owns AreaState, ChannelState, and PhysicalDevice data, decodes incoming frames, updates runtime state, persists structural changes through storage, and dispatches Home Assistant update signals to platform entities.

## Home Assistant Platforms

| Item | Details |
| --- | --- |
| light.py | Dimmable and on/off channel lights. |
| switch.py | Occupancy enable/disable switches and channel switches. |
| cover.py | Preset-based blind covers and paired relay covers. |
| climate.py | HVAC area entities with mode, fan, and setpoint support. |
| binary_sensor.py | PIR motion, physical device connectivity, and device motion sensors. |
| sensor.py | Temperature and illuminance sensors. |
| select.py | Preset selector per lighting area. |
| button.py | Save-preset button per lighting area. |

# Configuration and UI

Initial setup is handled by config_flow.py, which collects host, TCP port, and display name, then tests connectivity before creating the config entry. On load, __init__.py registers a gateway device, forwards platform setup, loads storage, starts the coordinator, registers services and websocket commands, and adds the custom sidebar panel.

The custom panel in panel/dynalite-config-panel.js uses websocket.py. It exposes logical configuration for areas/channels/presets/PIR/HVAC/blinds and physical configuration for discovered devices, custom names, sign-on polling, XML import, lux/motion toggles, backup, and restore.

# Persistence and Import

storage.py uses Home Assistant's Store API to persist structural data per config entry. It saves areas, channel definitions, area types, names, preset counts, fade settings, PIR and temperature flags, HVAC mappings, curtains, physical devices, lux/motion flags, and sign-on interval. Live runtime state such as brightness, motion, temperature, and online status is intentionally rebuilt from bus traffic after startup.

xml_parser.py supports Dynalite System Builder LogicalExport and DeviceExport files. Logical imports create areas, presets, and channels; device imports create physical module records keyed by device code and box number.

# Services and Debugging

| Item | Details |
| --- | --- |
| dynalite_pdeg.scan | Poll an area/channel range for discovery. |
| dynalite_pdeg.select_preset | Activate a preset in a Dynalite area. |
| dynalite_pdeg.set_level | Set a specific channel level from 0 to 100 percent. |
| dynalite_pdeg.send_raw_frame | Send raw DyNet hex frames, optionally recalculating checksum. |

# Packaging Metadata

| Item | Details |
| --- | --- |
| Manifest domain | dynalite_pdeg |
| Manifest name | Philips Dynalite (PDEG) |
| Version | 0.1.1 |
| Config flow | Enabled |
| IoT class | local_push |
| HACS minimum HA | 2024.1.0 |
| Python requirements | None declared |

# Notable Observations

The project has a strong separation between protocol I/O, coordinator state, and Home Assistant entity platforms.

The integration is significantly more capable than a basic light adapter; it models both logical areas and physical hardware.

There are no tests or CI files visible in the repository.

README.md references an MIT license file, but no LICENSE file was visible in the root.

README.md discusses PDEG ports around 50000/50001, while const.py currently sets DEFAULT_PORT to 12345.

Some terminal output showed encoding artifacts in comments and documentation strings; the files may need UTF-8 display or cleanup.

The raw frame service directly accesses the client's private writer, which works but is a maintenance smell.

# Overall Assessment

This is a mature custom Home Assistant integration with a practical architecture for real Dynalite installations: persistent TCP communication, central state coordination, dynamic entity creation, a custom admin panel, and import/backup tools. The main opportunities are project hygiene and hardening: adding tests, CI, a license file, documentation consistency checks, and small cleanup around encoding and private attribute access.